## Slide 1: Investigating the Impact of Residential Solar PV System Integration on Power Quality in a Distribution Network
Name: Crystal Jaftha
Supervisor: A/Prof. S. Chowdhury

## Slide 2: Objectives
Review of power quality challenges in a distribution network.
01
Review of the impact of residential solar PV system integration on power quality.
02
Design a distribution network with solar PV systems integrated into it.
03
Develop a criterion for investigating the power quality deviation
04

## Slide 3: Photovoltaic Cells
Converts solar radiation into electricity
Renewable energy source
Challenges arise when integrated into distribution networks

## Slide 4: Power Quality Issues in a Distribution Network
Overvoltage
Voltage Fluctuations
Total Harmonic Distortion
Poor Power Factor

## Slide 5: DIgSILENT PowerFactory Templates
IEEE 9-Bus Benchmark System
WECC Large-Scale PV plant 110MVA 60Hz

## Slide 6: Components
Component | Quantity
Busbars | 2
Transformers | 2
PV Plant Models | 2
General Loads | 2
External Grid | 1

## Slide 7: Final Design of the Test System

## Slide 8
Penetration Level | Active Power (MW)
Low | 50
Medium | 75
High | 100
Load | Power (MW)
Low | 50
Medium | 75
High | 100
Table 1: Table specifying the load values chosen to represent low, medium, and high loads
Table 2: Table specifying the active power values of the PV plant models

## Slide 9: Case Studies
Case 1 (Base): Medium loads, without PV integration
Case 2: Low loads, varying penetration levels
Case 3: Medium loads, varying penetration levels
Case 4: High loads, varying penetration levels

## Slide 10: Base Case Results
Voltage Profile
Frequency profile

## Slide 11: Voltage Results
LV distribution network affected more
Lowest deviations for Case 3
Deviation increases with penetration levels

## Slide 12: Frequency Results
Consistent deviation for all cases

## Slide 13: SA Renewable Energy Grid Codes for DG Integration
Nominal (Un)(kV) | Umin (p.u) | Umax (p.u)
132 | 0.9 | 1.0985
88 | 0.9 | 1.0985
66 | 0.9 | 1.0985
44 | 0.9 | 1.0800
33 | 0.9 | 1.0800
22 | 0.9 | 1.0800
11 | 0.9 | 1.0800
Voltage magnitudes complied for all cases

## Slide 14: Conclusions
Power quality is impacted by:
Distribution level voltages
Varying penetration levels
Load variation

## Slide 15: Recommendations for Future Work
Other types of DG systems
Variation of the Grid Strength
Different points of PV integration

## Slide 16
Thank You